Sealed Source Leak Test Report

For internal Queen Mary use only. Mark with X or N/A where applicable, or state.

Complete all sections, referring to procedure / guidance at https://www.qmul.ac.uk/hsd/a-z/radiation-ionising/. Retain record for at least 2 years or until the subsequent test.

| Item | Response |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Source Isostock Reference |  |  |  |  |  |  |  |  |  |  |
| Source Serial Number |  |  |  |  |  |  |  |  |  |  |
| Activity on date of leak test (Bq) |  |  |  |  |  |  |  |  |  |  |
| Date of leak test |  |  |  |  |  |  |  |  |  |  |
| Reason for leak test | Pre-use |  |  |  |  | Routine |  |  |  |  |
|  | Manufacturer test |  |  |  |  | After an incident |  |  |  |  |
| If after an incident – note MySafety Incident Report Ref and Incident Date |  |  |  |  |  |  |  |  |  |  |
| Method of Test | Direct (on source) |  |  |  |  | Indirect |  |  |  |  |
| Part/s of the device (instrument / equipment) leak tested (state) with wipe number |  |  |  |  |  |  |  |  |  |  |
| Test likely to detect leaking material? | Yes |  |  |  |  | No |  |  |  |  |
| Name of person carrying out the leak test |  |  |  |  |  |  |  |  |  |  |
| Signature of the person carrying out the leak test |  |  |  |  |  |  |  |  |  |  |
| Numerical results of the test (insert counter readout scan or state): |  |  |  |  |  |  |  |  |  |  |
| Make, model and serial number of the instrument/s used to count the wipe/s |  |  |  |  |  |  |  |  |  |  |
| Calibration date of counting instrument |  |  |  |  |  |  |  |  |  |  |
| Pass / Fail criteria | Activity detected is < 200 Bq (~< 5 nCi) |  |  |  |  | Yes |  |  | No |  |
|  | Other criteria (state): |  |  |  |  |  |  |  |  |  |
| Result of the leak test | PASS |  |  |  |  | FAIL |  |  |  |  |
| Any action taken if leak test failed (state) |  |  |  |  |  |  |  |  |  |  |
| Condition of the sealed source | Satisfactory |  |  |  |  | Not satisfactory |  |  |  |  |
| Suitability for continued use | Suitable for continued use |  |  |  |  | Not suitable for continued use |  |  |  |  |
| Name of person carrying out the leak test analysis |  |  |  |  |  |  |  |  |  |  |
| Signature of the person carrying out the leak test analysis |  |  |  |  |  |  |  |  |  |  |
| Report date |  |  |  |  |  |  |  |  |  |  |